{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["ПС-110-10 Толпар"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"ПС-110-10 Толпар","index":0,"n_rows":27,"n_cols":11,"rows_kept":27,"cut":false,"hidden":false,"merged":[[11,0,12,0],[11,1,12,1],[11,8,12,8],[11,9,12,9],[11,10,12,10],[11,2,12,2],[11,3,12,3],[11,4,12,4],[11,5,12,5],[11,6,12,6],[11,7,12,7]]}
[null,null,null,null,null,null,null,null,null,"Приложение 1"]
[]
[]
[]
[]
[null,null,null,null,"Почасовые контрольные замеры нагрузок и напряжений "]
[]
["ГУП \"РЭС\" РБ ПО \"ЦЭС\" ПС 110/10кВ Толпар",null,null,null,null,null,null,null,"День","Месяц","Год"]
[null,null,null,null,null,null,null,null,20,12,2023]
[]
[]
["Присоединение ","Ед.                   изм.","ТУ","ТС",0,4,6,10,14,18,22]
[]
["ТН-110-1","кВ","нет","нет",114.2,117,117.2,114.3,114.4,115.1,115]
["ТН-110-2","кВ","нет","нет",114.2,117.2,114.6,114.6,114.8,115.5,115.5]
["ТН-10-1","кВ","нет","нет",10.3,10.4,10.4,10.4,10.3,10.4,10.4]
["ТН-10-2","кВ","нет","нет",10.1,10.199999999999999,10.3,10.3,10.3,10.3,10.3]
["В-10 1Т","А","нет","нет",49.2,45.5,47.6,47.6,46.7,53,58.9]
["Ф-3 Школа-1","А","нет","нет",0.2,0.2,0.2,0.2,0.2,0.2,0.2]
["Ф-5 Поселок-1","А","нет","нет",23.1,21.5,23.4,23.4,22.3,25,29.2]
["Ф-409 Санаторий","А","нет","нет",13.3,11.3,11.5,11.5,13.4,14.4,14.8]
["Ф-411 Ново-Михайловка","А","нет","нет",12.3,13.8,12.2,12.2,12.7,12.7,14.3]
["В-10-2Т","А","нет","нет",58.4,46.6,69.2,69.2,54.8,67.8,68.599999999999994]
["Ф-4 Школа-2","А","нет","нет",1.2,1.3,3.3,3.3,1.8,2.1,1.4]
["Ф-6 Поселок-2","А","нет","нет",2.8,2.6,2.5,2.5,3.2,3.3,3.3]
["Ф-410 Алкино","А","нет","нет",49.9,45.1,58.5,58.5,46.5,54.5,56.3]
["Ф-412 Юматово","А","нет","нет",5.6,5.9,6.5,6.5,6.6,6.6,7.3]